## SOC
| SOC 1st Sampling | SOC 2nd Sampling
| April 2015 | July 2015
Analyte | Result | Result
Aroclor 1016 | ND | ND
Aroclor 1221 | ND | ND
Aroclor 1232 | ND | ND
Aroclor 1242 | ND | ND
Aroclor 1248 | ND | ND
Aroclor 1254 | ND | ND
Aroclor 1260 | ND | ND
Chlordane | ND | ND
Toxaphene | ND | ND
Alachlor | ND | ND
Aldrin | ND | ND
Atrazine | ND | ND
Benzo(a)pyrene | ND | ND
Lindane | ND | ND
Butachlor | ND | ND
Dieldrin | ND | ND
Di(ethylhexyl)-adipate | ND | ND
Di(ethylhexyl)-phthalate | ND | ND
Endrin | ND | ND
Heptachlor | ND | ND
Heptachlor epoxide | ND | ND
Hexachlorobenzene | ND | ND
Hexachlorocyclo-pentadiene | ND | ND
Methoxychlor | ND | ND
Metolachlor | ND | ND
Metribuzin | ND | ND
Propachlor | ND | ND
Simazine | ND | ND
Aldicarb | ND | ND
Aldicarb sulfone | ND | ND
Aldicarb sulfoxide | ND | ND
Carbaryl | ND | ND
Carbofuran | ND | ND
3-Hydroxycarbofuran | ND | ND
Methomyl | ND | ND
1-Naphthol | ND | ND
Oxamyl | ND | ND
DBCP (1,2-dibromo-3-chloropropane) | ND | ND
DBCP (1,2-dibromoethane) | ND | ND
2,4,5-TP | ND | ND
2,4-D | ND | ND
Dalapon | ND | ND
Dinoseb | ND | ND
Pentachlorophenol | ND | ND
Picloram | ND | ND
* - "ND" is Non-Detectable which means the result is below the method detection limit

## VOC
VOC 2016
April 2016
Analyte | Result
Benzene | ND
Carbon Tetrachloride | ND
Chlorobenzene | ND
1,2-Dichlorobenzene | ND
1,4-Dichlorobenzene | ND
1,2-Dichloroethane | ND
1,1-Dichloroethene | ND
cis-1,2-Dichloroethene | ND
trans-1,2-Dichloroethene | ND
1,2-Dichloropromane | ND
Ethylbenzene | ND
Methylene Chloride | ND
Styrene | ND
Tetrachloroethene | ND
Toluene | ND
1,2,4-Trichlorobenzene | ND
1,1,1-Trichloroethane | ND
1,1,2-Trichloroethane | ND
Trichloroethene | ND
Vinyl Chloride | ND
o-Xylene | ND
m,p-Xylene | ND
Xylenes (Total) | ND
Methyl tert-butyl ether | ND
* - "ND" is Non-Detectable which means the result is below the method detection limit

## Lead
Morgantown Utility Board Pb results 2016
Site | Pb mg/L
14 | 0.0043
9 | 0.0022
15 | 0.002 | 90 th percentile
21 | 0.0008
5 | 0.0006
29 | 0.0006
7 | 0.0005
8 | 0.0005
18 | 0.0005
2 | 0.0004
23 | 0.0004
10 | 0.0003
11 | 0.0003
22 | 0.0003
25 | 0.0003
27 | 0.0003
30 | 0.0003
16 | 0.0002
17 | 0.0002
1 | ND
3 | ND
4 | ND
6 | ND
12 | ND
13 | ND
19 | ND
20 | ND
24 | ND
26 | ND
28 | ND

## Copper
Morgantown Utility Board Cu results 2016
Site | Cu mg/L
9 | 0.0191
14 | 0.0187
4 | 0.014 | 90 th percentile
22 | 0.0123
19 | 0.0115
5 | 0.0103
15 | 0.01
29 | 0.0095
2 | 0.0086
11 | 0.0083
16 | 0.0082
10 | 0.0069
25 | 0.0064
18 | 0.0061
20 | 0.0056
21 | 0.0054
3 | 0.005
23 | 0.0049
30 | 0.0047
8 | 0.0046
12 | 0.0046
7 | 0.0041
27 | 0.0039
1 | 0.0033
28 | 0.0031
26 | 0.0028
17 | 0.0027
6 | 0.0026
13 | 0.0018
24 | 0.0011

## UCMR 3
UCMR3 Sample Location |  |  | UCMR3 Sample Location
Entry Point After Treatment |  |  | Sand Springs
Contaminant | Range (ug/L) | Average(ug/L) | Contaminant | Range (ug/L) | Average(ug/L)
VOC |  |  | Wet Chemistry
Bromochloromethane | ND-1.02 | 0.255 | Chlorate | ND-137 | 69.95
Bromomethane | ND-ND | 0 | Hexavalent Chromium | 0.032-0.081 | 0.0545
1,3-Butadiene | ND-ND | 0 | Metals
Chlorodifluoromethane | ND-ND | 0 | Chromium, Total | 0.035-0.33 | 0.14875
Chloromethane | ND-ND | 0 | Cobalt, Total | ND-ND | 0
1,1-Dichloroethane | ND-ND | 0 | Molybdenum, Total | ND-ND | 0
1,2,3-Trichloropropane | ND-ND | 0 | Strontium, Total | 109-346 | 195
SOC |  |  | Vandium, Total | ND-0.47 | 0.1175
1,4-Dioxane | ND-ND | 0
Wet Chemistry
Chlorate | ND-169 | 42.25
Hexavalent Chromium | 0.032-0.096 | 0.0505
Metals
Chromium, Total | ND-0.27 | 0.145
Cobalt, Total | ND-ND | 0
Molybdenum, Total | ND-ND | 0
Strontium, Total | 82.8-266 | 158.45
Vandium, Total | ND-0.59 | 0.1475
Perfluorobutanesulfonic acid | ND-ND | 0
Perfluoroheptanoic acid | ND-ND | 0
Perfluorohexanesulfonic acid | ND-ND | 0
Perfluorononanoic acid | ND-ND | 0
Perfluorooctanesulfonic acid | ND-ND | 0
Perfluorooctanoic acid | ND-ND | 0
Unregulated contaminants are those that don't yet have a drinking water standard
yet set by USEPA. The purpose of monitoring for these contaminants is to help EPA
decide whether the contaminants should have a standard.
ND - Non Detectable - This means that the sample result is below levels that current test methods can detect.